August 1, 2025

RE: July 2025 Monthly Report

Listed below is all the Stormwater Activity for July 2025.

**Stormwater Vac Trucks:**

65 Catch Basins Cleaned **(2025 Total – 730)**

4,372 feet of storm pipe cleaned. **(2025 Total – 56,650 feet)**

15 loads of debris = 150 tons **(2025 Total – 1,380 tons)**

770 feet of driveway pipe cleaned.

40 Citizen Requests Completed

**Street Sweeper: (Roads listed are only a few of the completed ones)**

60.05 curb miles swept. **(2025 Total – 367.89 curb miles)**

44 loads of debris = 110.00 tons **(2025 Total – 731 tons)**

0.00 miles of scraping in preparation for sweeping

10 Citizen Request

\*Rocky Creek Road \* Oglethorpe Street

\*Dexter Avenue \* Winfred Way

\*Willis Court \* Plymouth Drive

\*Walnut Creek Road \* Glenridge Drive

\*Melvin Place \* Downtown Corridor

**July 2025 MS4 Inspections Data**

65 Catch Basins **(2025 - 2026 Total – 757)**

27,714 feet of Ditches  **(2025 – 2026 Total – 57,330’= 10.86 miles)**

4,372 feet of Pipe **(2025 – 2026 Total – 41,046’ = 7.77 miles)**

HVPS Inspections  **(2025 – 2026 Total – 0)** Main Outfall Basins **(2025 – 2026 Total – 0)**

Detention Ponds  **(2025 – 2026 Total – 10)**

0 – GI/LID Sites  **(2025 – 2026 Total – 0)**

0 – MBC Facilities  **(2025 – 2026 Total – 0)**

**2025 – 2026 Inspection Data (5/1/25 – 4/30/26) (New reporting period started as of May 1, 2026)**

**MS4 Inspection Inventory 20% Completed**

Catch Basin 20,017 4,003 757

Ditches 1,029 miles 205.8 miles 10.86 miles

Storm Pipe 636 miles 127.2 miles 7.77 miles

Detention Ponds 14 3 10

Main Basin Outfalls 158 33 0

HVPS 115 23 0

Industrial Sites 29 6 0

GI/LID (Public) 1 1 0

GI/LID (Private) 6 1 0

MBC Facilities 6 1 0

**Stormwater Capital Improvement Projects (Active)**

* Poplar Street Lane @ Third Street Sam Hall & Sons
* Plum Street Lane (New Street to First Street) Southeast Pipe
* Artic Circle (Drainage Study & Design) R2T Engineering
* CBD Critical Areas (Survey & Design Stage) R2T Engineering

**Ditching: (Roads listed are only a few of the completed ones)**

27,714 feet of ditching **(2025 Total – 91,062 feet = 17.25 miles)**

14 Citizen Requests

• 5520 Mount Pleasant Road

• 359 Amanda Drive

• 3727 Stallworth Drive

• Winchester Circle

• 6564 Chriswood Drive

• 106 J Drive South

• 7142 Curtis Drive

• 6410 Plantation Drive

**Contractor (Emergency Repair)**

* **JR Boulevard UAM**
* **Marion Road UAM**
* **2604 Treadway Drive Pyles Plumbing**

**Work Orders:**

130 Completed **(2025 Total – 742)**

99 were citizen requests

**Maintenance Crews:**

Repaired (12) Cave-In.  **(2025 Total – 50 Cave-ins Repaired)**

Driveways Installed – (0)  **(2025 Total – 9)**

Replaced (12) Catch Basin Frame  **(2025 Total – 129 replaced)**

Repaired/Replaced an additional (18) Catch Basin Lid **(2025 Total – 141)**

Formed and Poured (0) Concrete Catch Basin lids. **(2025 Total – 15)**

Rehab Catch Basin Box – 2 **(2025 Total – 18)**

Mowed (3) Detention Ponds

35 Citizen Request

**Rain Totals for July 2025 0.49”**

**2025 Rain Total 27.69”**

**MWA/MBC Clean-up Partnership**

The Stormwater Division has swept 9 streets/roads where MBC cleaned up illegal dumping and swept the Central Business District. The total for July 2025 is 45.32 curbed miles (2025 Total – 215.03 CM)

**Denial Letters Sent in July 2025 (Private Issues Outside R/W)**

* 776 Winchester Circle
* 1160 Ousley Place
* 6641 Perkins Circle
* 5407 Janeru Circle
* 6075 Fountain Drive

**MWA Warehouse**

*Skyline Contractors has completed the final section (Section 3) of the warehouse roof. We are awaiting materials on the front wall repair caused by separation that should be in within the next couple of weeks. We are continuing to implement new processes in the Warehouse to better serve MWA employees and contractors more efficiently with fewer interruptions.*

The warehouse staff has completed **160** Work Orders charged and **259** GL Codes charged, totaling $772,970.49 in inventory transactions for July 2025.

**Utility Locate Responded/Completed Tickets**

July 31, 2025 Late Response Tickets – 0 GA811 Tickets Completed for July 2025 – 826

**(2025 Total 811 Tickets closed with Stormwater – 3,697 completed)**