September 2, 2025

RE: August 2025 Stormwater Report

Listed below is all the Stormwater Activity for August 2025.

**Stormwater Vac Trucks:**

112 Catch Basins Cleaned **(2025 Total – 842)**

11,151 feet of storm pipe cleaned. **(2025 Total – 67,801 feet)**

23 loads of debris = 230 tons **(2025 Total – 1,610 tons)**

2,931 feet of driveway pipe cleaned.

40 Citizen Requests Completed

**Street Sweeper: (Roads listed are only a few of the completed ones)**

144.46 curb miles swept. **(2025 Total – 512.35 curb miles)**

53 loads of debris = 132.50 tons **(2025 Total – 863.50 tons)**

6.14 miles of scraping in preparation for sweeping

11 Citizen Request

 \*Telfair Street \* Oglethorpe Street

 \*W. Marion Road \* Georgia Place

 \*Redhill Boulevard \* College Street

 \*Murray Drive \* Warpath Road

 \*MBC Bridges (43) \* Downtown Corridor

**August 2025 MS4 Inspections Data**

112 Catch Basins **(2025 - 2026 Total – 869)**

19,832 feet of Ditches  **(2025 – 2026 Total – 77,162’= 14.61 miles)**

11,151 feet of Pipe **(2025 – 2026 Total – 52,197’ = 9.89 miles)**

HVPS Inspections  **(2025 – 2026 Total – 0)** Main Outfall Basins **(2025 – 2026 Total – 0)**

Detention Ponds  **(2025 – 2026 Total – 10)**

0 – GI/LID Sites  **(2025 – 2026 Total – 0)**

0 – MBC Facilities  **(2025 – 2026 Total – 0)**

**2025 – 2026 Inspection Data (5/1/25 – 4/30/26) (New reporting period started as of May 1, 2026)**

**MS4 Inspection Inventory 20% Completed**

Catch Basin 20,017 4,003 869

Ditches 1,029 miles 205.8 miles 14.61 miles

Storm Pipe 636 miles 127.2 miles 9.89 miles

Detention Ponds 14 3 12

Main Basin Outfalls 158 33 0

HVPS 115 23 0

Industrial Sites 29 6 0

GI/LID (Public) 1 1 0

GI/LID (Private) 6 1 0

MBC Facilities 6 1 0

**Stormwater Capital Improvement Projects (Active)**

* Poplar Street Lane @ Third Street Sam Hall & Sons
* Plum Street Lane (New Street to First Street) Southeast Pipe
* Artic Circle (Drainage Study & Design) R2T Engineering
* CBD Critical Areas (Survey & Design Stage) R2T Engineering

**Ditching: (Roads listed are only a few of the completed ones)**

19,832 feet of ditching **(2025 Total – 110,894 feet = 21.00 miles)**

27 Citizen Requests

• 6591 Rogers Road

• Curtis Drive

• 5182 Bowman Road

• 1173 Oakcliff Road

• 915 Nottingham Drive

• 2705 Masseyville Road

• 793 Sunnydale Drive

• 4260 Dellwood Drive

**Contractor (Emergency Repair)**

* **Peake Road North John R. Walker**
* **Sylvian Drive Davis Plumbing**
* **2604 Treadway Drive UAM**
* **Saratoga Drive**

**Work Orders:**

168 Completed **(2025 Total – 910)**

111 were citizen requests

**Maintenance Crews:**

Repaired (10) Cave-In.  **(2025 Total – 60 Cave-ins Repaired)**

Driveways Installed – (1)  **(2025 Total – 10)**

Replaced (19) Catch Basin Frame  **(2025 Total – 148 replaced)**

Repaired/Replaced an additional (20) Catch Basin Lid **(2025 Total – 161)**

Formed and poured (12) Concrete Catch Basin lids. **(2025 Total – 27)**

Rehab Catch Basin Box – 0 **(2025 Total – 18)**

Mowed (2) Detention Ponds

33 Citizen Request

**Rain Totals for August 2025 11.39”**

**2025 Rain Total 39.08”**

**MWA/MBC Clean-up Partnership**

The Stormwater Division has swept eight streets/roads where MBC cleaned up illegal dumping and swept the Central Business District. Swept all MBC-owned bridges. The total for August 2025 is 43.27 curbed miles (2025 Total – 258.30 CM)

**Denial Letters Sent in August 2025 (Private Issues Outside R/W)**

* 2648 Kent Drive
* 115 Brookstone Lane
* 6230 Zebulon Road
* 7184 Wimpy Road
* 115 Arkwright Landing
* 113 Fred Court
* 2930 Victoria Circle

**MWA Warehouse**

*Pitman Contractor has completed the front wall repair caused by separation. We are preparing for the yearly audit of the Warehouse and Stormwater in October. We are continuing to implement new processes in the Warehouse to better serve MWA employees and contractors more efficiently with fewer interruptions.*

The warehouse staff has completed **180** Work Orders charged and **356** GL codes charged, totaling $1,316,079.65 in inventory transactions for August 2025.

**Utility Locate Responded/Completed Tickets**

August 31, 2025 Late Response Tickets – 0 GA811 Tickets Completed for August 2025 – 830

**(2025 Total 811 Tickets closed with Stormwater – 4,527 completed)**